## Slide 1
Quality Assurance for POC Testing
Supplementary Content 3: QA, Mentorship and Operator Certification for POC EID Testing
POC EID Training Toolkit
v. May 2019

## Slide 2: Agenda
1
  Learning Objectives
2
  Quality Assurance (QA) framework and QA for EID POC Testing
3
  Use of SPI -POCT checklist or equivalent to certify POC EID Sites
4
  Use of supervision/mentorship checklist
5
  Use of connectivity to monitor performance
6
  Q&A

## Slide 3: Learning Objectives
3
1
At the end of this topic participants will be able to:
  Understand the country’s QA framework
  Explain QA approaches for POC EID
  Understand and learn how to use the SPI-POCT checklist to assess facility performance
  Understand and learn how to use the mentorship/supervision checklist during field visits
  Understand how connectivity can be used to monitor program performance

## Slide 4: Agenda
1
  Learning Objectives
2
  Quality Assurance (QA) framework and QA for POC EID Testing
3
  Use of SPI -POCT checklist or equivalent to certify POC EID Sites
4
  Use of supervision/mentorship checklist
5
  Use of connectivity to monitor performance
6
  Q&A

## Slide 5: Why is Quality Important?
Test Site
Quality
Accurate,
Reliable
Testing
Quality in
All Aspects
of Health Care
2

## Slide 6: The Laboratory Quality System
Process ControlQC & Specimen Management
Purchasing & Inventory
Assessment
Occurrence Management
Information Management
Process Improvement
Customer Service
Facilities & Safety
Organization
Personnel
Equipment
Documents & Records
The organizational structure, responsibilities, processes, procedures, and resources for implementing quality management of the laboratory or testing site.
2
In other words…all activities contribute to the quality of testing, directly or indirectly!

## Slide 7
Quality Assurance should be implemented in all phases of Testing
Pre-Testing
Testing
Post-Testing
Data and Laboratory Management
Safety
Customer Service
Patient/Client Prep
Sample Collection
Sample Receipt
and Accessioning
Sample
Transport
Quality Control
Record Keeping
Reporting
Staff Competency
Test Evaluations
Testing
2
Notes: Explain the QA cycle within the country’s context

## Slide 8: Every country should have a national QA framework that applies to testing across all programs and platforms
[Before the start of the training, insert here a diagram of the National QA Framework]
2
Notes: Explain the country QA context

## Slide 9: Similarly, POC EID testing should follow the same QA operational framework and, at a minimum, should include these components
Quality Assurance for POC EID Testing
POC EID Testing sites enrolled in EQA proficiency testing
Internal Quality Control built into devices
Mentorship/ Supervision Programs
Service& Maintenance Scheme
Connectivity and Stock Management
Training and Annual Competency Assessment
2
Notes: Explain the country QA context

## Slide 10: Compliance with routine EQA optimizes the quality of testing and builds trust in the result from POC testing devices
Proposed interventions to ensure successful routine EQA
Central level supervisors should coordinate the External Quality Assurance exercise (e.g. National Public Health Lab)
Enroll POC EID sites in EQA scheme available for the country (e.g. QASI, CDC, national QAP)
All EQA panels should be distributed to POC sites as per EQA panel distribution SOP following the handling and transport standard requirements
Central level supervisors should specify with the testing lab preferred timelines for the results
Central level supervisors should follow up on the results from the testing sites
Central level supervisors should communicate performance to respective POC EID sites and conduct corrective actions when necessary.
To be repeated every 6 months (2 cycles per year as defined by EQA scheme provider)
2
Notes: Discuss these interventions with the audience, help them to identify the role they will play in EQA activities
On 3-5, identify and agree which central level supervisors will cover each POC EID site to be responsible for EQA

## Slide 11: If consistently done, routine EQA will provide a quality check for all POC EID testing sites
What needs to be in place:
Communication in advance to prepare the sites
Supervisor/mentor review in advance to assess POC site performance based on data transmitted through connectivity to the POC dashboard to identify and plan for any corrective actions (if connectivity is established)
Supervisor to travel to all the POC EID sites, bringing EQA-PT panels from National Reference Lab; mentorship and supervision can be done alongside EQA-PT panel delivery.
Logistics for supervisor field visit
2
Notes: Discuss and agree with trainers as per previous slide

## Slide 12: Managing discordant results at POC EID site
[Before the start of the training, insert here the national policy for managing discordant EID results]
2

## Slide 13: Agenda
1
  Learning Objectives
2
  Quality Assurance (QA) framework and QA for POC EID Testing
3
  Use of SPI -POCT checklist or equivalent to certify POC EID Sites
4
  Use of supervision/mentorship checklist
5
  Use of connectivity to monitor performance
6
  Q&A

## Slide 14: The Stepwise Process for Improving the Quality of POC Testing (SPI-POCT) checklist is a simple and easy to use tool assess POCT testing quality
3
Link to The SPI-POCT Checklist on the POC EID Toolkit
The SPI-POCT checklist assesses 9 aspects of POC testing to generate a facility score:
  Integration of POCT service for patient care
  Personnel training, competency and certification
  Physical facilities
  Safety
  Pre-testing phase
  Testing phase
  Post-testing phase
  Supplies, reagents and equipment
  Monitoring quality
Notes: Open and review the SPI-POCT checklist with the participants

## Slide 15: Agenda
1
  Learning Objectives
2
  Quality Assurance (QA) framework and QA for POC EID Testing
3
  Use of SPI -POCT checklist or equivalent to certify POC EID Sites
4
  Use of supervision/mentorship checklist
5
  Use of connectivity to monitor performance
6
  Q&A

## Slide 16: The goal of periodic site supervision and mentorship is to identify issues early and to provide corrective and preventive actions
Assessment report
Generated from POC Database on testing & error trends or equivalent report
Supervision
Mentorship
Carried out by trained Lab Tech on a need basis
Every quarter or every 6 months (depends on the agreed # of cycle)
Based on the supervision/data report findings and Test performance result
To be used during site supervision
Carried out by trained Lab Tech/Lab coordinator using the POC supervision and mentorship checklist
4
Notes: Data reports can be generated in the POC database using testing data transmitted real time via connectivity

## Slide 17: Mentorship and supportive supervision provide opportunities for observation, assessment, reflection and joint problem solving
Mentorship by experienced individuals to less experienced individuals is an essential element of medical and nursing education; clinicians learn best by doing, while being supported by a more experienced colleague.
Mentoring is a critical bridge for the training gap that exists between traditional didactic training and practice in the clinical setting
Mentoring occurs at site level, thus ensuring that POC operators learn how to adopt SOPs and systems to their own patient population in the clinic setting
Supportive supervision improves the quality of service delivery through observation, discussion and direct problem-solving, mentoring and learning from the topics that are discussed then planning the way forward with POC operators and clinic staff.
Mentoring overlaps with supportive supervision whereby the testing and clinic flow is assessed and concerns are addressed through the use of collaborative problem solving
4

## Slide 18: The POC EID Mentorship/Supervision Checklist can be used to guide site visits and identify areas for intervention and improvement
Suggested mentorship/supervision visit schedule: Monthly for the 1st 3 months, and then 6 monthly
Lower performing sites can be visited more frequently
4
Notes: The tool is divided in 3 sections – clinical integration, technical and operational performance, linkage to care. Go through the tool with the group.

## Slide 19: Agenda
1
  Learning Objectives
2
  Quality Assurance (QA) framework and QA for POC EID Testing
3
  Use of SPI -POCT checklist or equivalent to certify POC EID Sites
4
  Use of supervision/mentorship checklist
5
  Use of connectivity to monitor performance
6
  Q&A

## Slide 20
5
Error messages
Error rates by facility/operator
Inventory tracking
Test results
EQA results
Testing volumes
Device breakdown tracking
Operator initiates data transmission
Data transmitted through cellular network or internet connection
Data is aggregated on MOH server, used for corrective action and program management
Examples of data captured by POC devices:
POC devices can be monitored remotely through wireless connectivity that transmits testing data to a central server
5
Notes: Explain that POC connectivity allows program managers at the district/regional level to easily track POC device performance across a large number of sites. For example, if the POC data shows a high error rate at a facility, the program manager can schedule a mentorship visit. Or, if the program manager sees that a facility is conducting a high number of tests, they can schedule a delivery of cartridges to ensure the facility doesn’t stock out.

## Slide 21
A program manager can monitor many aspects of POC testing using wirelessly transmitted testing data
POC Fleet
Overview
Error Types
Error Rate
Stock Management
Facility-specific
Testing Volume
Average Result
5
Notes: Explain that this is what a program manager will see when monitoring POC devices remotely. This is an example is from a POC CD4 dashboard, but the data points will be similar for EID: Testing volume (national and facility-specific), test results, error rate, error types, fleet overview. The program manager can look at data for the entire fleet of devices across the country or just those in a specific region, or just one device at a single facility.

## Slide 22: Agenda
1
  Learning Objectives
2
  Quality Assurance (QA) framework and QA for POC EID Testing
3
  Use of SPI -POCT checklist or equivalent to certify POC EID Sites
4
  Use of supervision/mentorship checklist
5
  Use of connectivity to monitor performance
6
  Q&A

## Slide 23: Questions?
23
Thank You!

## Slide 24
Acknowledgments
Unitaid accelerates access to innovation so that critical health products
can reach the people who need them.
The development of the POC EID Training Package was made possible
thanks to Unitaid’s support.